## Sheet1
basis | link | program | image size (1/2 diag, mm) | f/# | efl (mm) | notes
US03598473-2.zmx | Download | Zemax | 2.5 | 7.2 | 72
US03711186-2 | Download | Zemax | 0.13 | 0.5 | 1.59 | 100X
US03868175-2 | Download | Zemax | 0.391 | 0.75 | 4.58 | 40X
US03902791-2 | Download | Zemax | 0.391 | 0.8 | 4.58 | 40X
US04037934-1 | Download | Zemax | 0.085 | 0.6 | 1
US04126377 -1 | Download | Zemax | 4.8 | 8 | 40-70 | low mag zoom microscope
US04150871-1 | Download | Zemax | 0.087 | 2 | 1
US04326779-1 | Download | Zemax | 1.5 | 1.75 | 18.4 | 10X
US04379623-1 | Download | Zemax | 0.392 | 0.7 | 4.58 | 40X
US04384765-1 | Download | Zemax | 0.11 | 0.6 | 1.8 | 100X
US04417787-1 | Download | Zemax | 0.314 | 0.6 | 3.7 | 60X
US04501474-1 | Download | Zemax | 0.039 | 7.5 | 1 | 2.5X
US04624535-1 | Download | Zemax | 0.344 | 1.3 | 3.96 | 20X
US05132845-1 | Download | Zemax | 0.087 | 0.6 | 0.7 | 250X
US05291340-14.zmx | Download | Zemax | 0.06 | 0.8 | 4 | all-reflecting
US05291340-2.zmx | Download | Zemax | 1.6 | 2 | 18 | all-reflecting
US05291340-4.zmx | Download | Zemax | 0.3 | 1.3 | 9 | all-reflecting
US05532878-1 | Download | Zemax | 0.23 | 0.45 | 2.67 | 60X immersion
US05659425-1.zmx | Download | Zemax | 0.15 | 0.35 | 1.7 | immersion
US05886826-1 | Download | Zemax | 0.122 | 0.6 | 2 | UV
US06128139-2 | Download | Zemax | 1.8 | 2.4 | 46.32 | includes tube lens
US06504653-1 | Download | Zemax | 0.156 | 0.38 | 1.65 | 60X immersion
US06507442-1 | Download | Zemax | 0.153 | 0.6 | 1.8 | UV, 100X
US07158310-1 | Download | Zemax | 3.36 | 3.4 | 266 | 4X
US07158310-5 | Download | Zemax | 1.3 | 1.8 | 200 | 10X
US07158310-6 | Download | Zemax | 0.328 | 0.55 | 43 | 40X, includes tube lens
US07349162-1.zmx | Download | Zemax | 0.22 | 0.45 | 2.6 | immersion
US07502177-1 | Download | Zemax | 0.57 | 0.66 | 9.37 | catadioptric design w/ intermediate image
US07633675-1 | Download | Zemax | 0.237 | 0.55 | 4.5 | catadioptric design w/ intermediate image, UV-IR
US07672057-1 | Download | Zemax | 1.103 | 2 | 17 | 10X
US07889433-2.ZMX | Download | Zemax | 0.1 | 0.6 | 3.3 | immersion
US07982961-1.ZMX | Download | Zemax | 0.7 | 0.6 | 9 | 20x
US08199408-1 | Download | Zemax | 0.163 | 0.4 | 8.2 | 40X immersion, with tube lens
US08488248-1.zmx | Download | Zemax | 0.38 | 0.5 | 7.3
Imaging_Optics_Figure_11_40_optimised |  | Zemax | 0.07 | 0.37 | 4 | High-NA immersion objective optimised; Imaging Optics p. 849.
Imaging_Optics_Figure_11_40_US6504653 |  | Zemax | 0.07 | 0.37 | 4 | High-NA immersion objective US 6504653; Imaging Optics p. 849.
Imaging_Optics_Figure_7_59a |  | Zemax | 0.057 | 2 | 16 | Lister microscope objective (SK11 - F2); Imaging Optics p. 501
Imaging_Optics_Figure_7_59b |  | Zemax | 0.118 | 0.77 | 6 | Amici microscope objective; Imaging Optics p. 501.
Imaging_Optics_Figure_7_62 |  | Zemax | 0.069 | 0.6 | 2 | High-NA apochromatic objective; Imaging Optics p. 503
Imaging_Optics_Figure_7_64 |  | Zemax | 0.39 | 1.25 | 9.2 | Laser disc objective (He-Ne); Imaging Optics p. 505.
Imaging_Optics_Figure_7_67 |  | Zemax | 0.119 | 1.11 | 4.5 | Aspheric objective (single element); Imaging Optics p. 509.
Imaging_Optics_Figure_7_68a |  | Zemax | 0.2 | 1.2 | 4.5 | Bi-aspheric CD objective (inverted telephoto type); Imaging Optics p. 510.
Imaging_Optics_Figure_7_68b |  | Zemax | 0.2 | 1.1 | 4.5 | Bi-aspheric CD objective (telephoto type); Imaging Optics p. 510.
Imaging_Optics_Figure_7_68c |  | Zemax | 0.15 | 0.11 | 4.5 | Bi-aspheric CD objective (relaxed design); Imaging Optics p. 510.
Imaging_Optics_Figure_7_70 |  | Zemax | 0.05 | 1.1 | 0.84 | Reflective CD-objective (Schwarzschild); Imaging Optics p. 513.
Imaging_Optics_Figure_7_73c |  | Zemax | 0.12 | 0.83 | 3.3 | Plastic bi-aspheric DVD objective; Imaging Optics p. 517.
Imaging_Optics_Figure_7_75a |  | Zemax | 0.02 | 0.6 | 1.75 | Bi-aspheric Blu-ray objective; Imaging Optics p. 518.
Imaging_Optics_Figure_7_75b |  | Zemax | 0 | 0.6 | 1.75 | Two-element bi-aspheric objective; Imaging Optics p. 518.
US03744881-1 |  | Zemax | 10 | 15 | 32 | 1.8X, Fluorite, good field correction, normal WD
US05774272-3 |  | Zemax | 6 | 5 | 100 | 2X, Apochromatic, good field correction, normal WD
US06128128-1 |  | Zemax | 1.1 | 1.5 | 38 | 2X, Apochromatic, good field correction, normal WD
US04592624_1 |  | Zemax | 3 | 6 | 76 | 2.5X, Achromatic, good field correction, normal WD
US04592624-2 |  | Zemax | 4 | 8 | 77 | 2.5X, Achromatic, good field correction, normal WD
US05132845-1b |  | Zemax | 0.1 | 0.6 | 0.7 | 4X, Achromatic, good field correction, normal WD
US07158310-1 |  | Zemax | 3 | 3 | 45 | 4X, UV superachromatic, good field correction, long WD
JP1999-174338-1 |  | Zemax | 2 | 4 | 40 | 5X, UV superachromatic, good field correction, normal WD
US20150248001-1 |  | Zemax | 4 | 2 | 28 | 5.88X, Improved VIS apochromatic, little field correction, normal WD
US20150248001-2 |  | Zemax | 1 | 1.5 | 28 | 5.88X, Improved VIS apochromatic, little field correction, normal WD
JP1999-174338-2 |  | Zemax | 3 | 3 | 20 | 10X, UV superachromatic, good field correction, long WD
JP2012-173491-1 |  | Zemax | 1.2 | 0.8 | 18 | 10X, Achromatic, good field correction, with vignetting, normal WD
US03744881-2 |  | Zemax | 8 | 10 | 38 | 10X, Fluorite, good field correction, long WD
US04054369-1 |  | Zemax | 1 | 2 | 18 | 10X, Achromatic, little field correction, normal WD
US04279477-1 |  | Zemax | 0.9 | 1.3 | 9 | 10X, Fluorite, little field correction, normal WD
US04403835-1 |  | Zemax | 1 | 1.3 | 9 | 10X, Achromatic, good field correction, normal WD
US06128128-2 |  | Zemax | 6 | 6.5 | 155 | 10X, Apochromatic, good field correction, normal WD
US06128139-3 |  | Zemax | 1 | 2 | 20 | 10X, Achromatic, good field correction, normal WD
US07158310-2 |  | Zemax | 4 | 4 | 45 | 10X, UV superachromatic, good field correction, normal WD
US08350904-5 |  | Zemax | 1 | 0.7 | 18 | 10X, Apochromatic, good field correction, with vignetting, normal WD
US20170261736-3 |  | Zemax | 3 | 1 | 18 | 10X, Achromatic, excellent field correction, long, immersion WD
US09939622-1 |  | Zemax | 0.7 | 0.4 | 7.3 | 10.6X, Apochromatic, excellent field correction, normal WD
US09939622-4 |  | Zemax | 0.7 | 0.6 | 6.6 | 10.6X, Apochromatic, excellent field correction, immersion WD
DE102017108595-1 |  | Zemax | 0.4 | 0.7 | 12.7 | 16X, Fluorite, little field correction, long, immersion WD
JP1986-275811_1 |  | Zemax | 1 | 0.8 | 7.7 | 20X, Apochromatic, good field correction, with vignetting, normal WD
JP1999-174338-3 |  | Zemax | 2 | 2 | 35 | 20X, UV superachromatic, good field correction, long WD
JP2007-206404-1 |  | Zemax | 0.6 | 1.3 | 9 | 20X, IR superachromatic, good field correction, long WD
US03514185-1 |  | Zemax | 2 | 1.3 | 8.3 | 20X, Achromatic, good field correction, normal WD
US03912378-1 |  | Zemax | 0.2 | 0.5 | 1.8 | 20X, Achromatic, good field correction, long WD
US03925910-1 |  | Zemax | 1.2 | 1.5 | 11.5 | 20X, Achromatic, good field correction, long WD
US04174151-1 |  | Zemax | 0.35 | 1.3 | 1.3 | 20X, Achromatic, good field correction, normal WD
US04232941-1 |  | Zemax | 1.4 | 1.3 | 20 | 20X, Apochromatic, good field correction, normal WD
US05729391-1 |  | Zemax | 1 | 0.6 | 10 | 20X, Apochromatic, good field correction, with vignetting, normal WD
US05739957-3 |  | Zemax | 0.5 | 0.65 | 9 | 20X, Fluorite, good field correction, with vignetting, normal WD
US05757552-1 |  | Zemax | 1 | 1 | 5.2 | 20X, Achromatic, good field correction, long WD
US05808807-2 |  | Zemax | 1.3 | 1.5 | 10 | 20X, Achromatic, good field correction, normal WD
US05889618-1 |  | Zemax | 1 | 1.3 | 10 | 20X, Achromatic, good field correction, normal WD
US07382542-1 |  | Zemax | 0.2 | 0.5 | 4.1 | 20X, Improved VIS apochromatic, good field correction, with vignetting, long, immersion WD
US07982961-1 |  | Zemax | 0.8 | 0.6 | 9 | 20X, Apochromatic, good field correction, with vignetting, normal WD
US09696536-1 |  | Zemax | 0.8 | 0.6 | 6.6 | 20X, Improved VIS apochromatic, good field correction, with vignetting, normal WD
US09746658-1 |  | Zemax | 0.6 | 0.6 | 9 | 20X, Apochromatic, excellent field correction, normal WD
US09746658-10 |  | Zemax | 6 | 0.5 | 9 | 20X, Apochromatic, excellent field correction, immersion WD
US20180364466-2 |  | Zemax | 0.3 | 0.85 | 3.6 | 20X, Improved VIS apochromatic, good field correction, long WD
US05555133-1 |  | Zemax | 0.5 | 0.8 | 4.5 | 25X, Apochromatic, coma corrected only monochromatically, normal WD
US02206155-1 |  | Zemax | 0.5 | 1 | 5 | 31X, Achromatic, coma corrected only monochromatically, normal WD
JP1998-221609-1 |  | Zemax | 0.4 | 0.85 | 5 | 40X, Achromatic, good field correction, with vignetting, long WD
JP2010-134218-1 |  | Zemax | 0.5 | 0.6 | 5 | 40X, UV superachromatic, good field correction, with vignetting, normal WD
US03623792-1 |  | Zemax | 0.5 | 0.8 | 1.2 | 40X, Achromatic, little field correction, normal WD
US03623792-2 |  | Zemax | 0.4 | 0.8 | 4.3 | 40X, Achromatic, little field correction, normal WD
US03806231-1 |  | Zemax | 0.4 | 1 | 5.5 | 40X, Achromatic, good field correction, with vignetting, long WD
US04231637-1 |  | Zemax | 0.4 | 1 | 4.5 | 40X, Achromatic, coma corrected only monochromatically, long WD
US05757552-2 |  | Zemax | 2.5 | 2.5 | 10 | 40X, Achromatic, good field correction, with vignetting, long WD
US05982559-1 |  | Zemax | 0.4 | 0.8 | 1 | 40X, Fluorite, good field correction, with vignetting, immersion WD
US06441966-1 |  | Zemax | 0.2 | 0.7 | 5 | 40X, Fluorite, coma corrected only monochromatically, normal WD
US07158310-3 |  | Zemax | 4 | 4 | 45 | 40X, UV superachromatic, good field correction, with vignetting, normal WD
US07268953-1 |  | Zemax | 0.1 | 0.6 | 4 | 40X, IR superachromatic, good field correction, with vignetting, immersion WD
US09488817-1 |  | Zemax | 0.7 | 0.6 | 4.2 | 40X, Apochromatic, good field correction, with vignetting, immersion WD
US09645380-1 |  | Zemax | 0.3 | 0.7 | 4.1 | 40X, UV-IR superachromatic, good field correction, with vingetting, immersion WD
JP1985-063512-1 |  | Zemax | 0.4 | 0.8 | 3.6 | 50X, Achromatic, good field correction, with vignetting, long WD
JP1987-049313-1 |  | Zemax | 0.4 | 1 | 3.6 | 50X, IR superachromatic, good field correction, with vignetting, long WD
JP1999-167067-1 |  | Zemax | 0.7 | 1.2 | 4 | 50X, IR superachromatic, good field correction, long WD
JP1999-174338-4 |  | Zemax | 3 | 3 | 20 | 50X, UV superachromatic, good field correction, long WD
JP2003-015046-2 |  | Zemax | 0.15 | 0.4 | 3.4 | 59.6X, Improved VIS apochromatic, good field correction, with vignetting, immersion WD
JP1987-049313-2 |  | Zemax | 0.5 | 0.8 | 3.8 | 60X, UV superachromatic, good field correction, with vignetting, long WD
US04059342-1 |  | Zemax | 0.5 | 0.6 | 3 | 60X, Achromatic, good field correction, with vignetting, normal WD
US04588264-1 |  | Zemax | 0.25 | 0.7 | 2.7 | 60X, Achromatic, good field correction, with vignetting, long WD
US04666256-1 |  | Zemax | 0.3 | 0.75 | 2.7 | 60X, Achromatic, good field correction, with vignetting, long WD
US05530590-1 |  | Zemax | 0.2 | 0.55 | 2.9 | 60X, Apochromatic, good field correction, with vignetting, immersion WD
US05861996-1 |  | Zemax | 0.3 | 0.6 | 3.3 | 60X, Achromatic, good field correction, with vignetting, normal WD
US06441966-2 |  | Zemax | 0.1 | 0.6 | 3 | 60X, Apochromatic, good field correction, with vignetting, normal WD
US06519092-1 |  | Zemax | 0.3 | 0.5 | 3.3 | 60X, Apochromatic, good field correction, with vignetting, immersion WD
US07046451-1 |  | Zemax | 0.2 | 0.4 | 3.3 | 60X, Apochromatic, good field correction, with vignetting, immersion WD
US07199938-1 |  | Zemax | 0.2 | 0.45 | 3 | 60X, Apochromatic, good field correction, with vignetting, immersion WD
US07349162-1 |  | Zemax | 0.2 | 0.45 | 2.6 | 63X, Apochromatic, good field correction, with vignetting, immersion WD
US09488817-2 |  | Zemax | 0.4 | 0.5 | 2.6 | 63X, Apochromatic, good field correction, with vignetting, immersion WD
US09645380-2 |  | Zemax | 0.2 | 0.45 | 2.6 | 63X, UV-IR superachromatic, good field correction, with vignetting, immersion WD
US20060018030-1 |  | Zemax | 0.1 | 0.6 | 2.8 | 63X, UV superachromatic, good field correction, with vignetting, long, immersion WD
US03524694-1 |  | Zemax | 0.2 | 0.6 | 1.7 | 98X, Achromatic, good field correction, with vignetting, long, immersion WD
DE10316415-1 |  | Zemax | 0.45 | 0.6 | 1.66 | 100X, Improved VIS apochromatic, good field correction, with vignetting, normal WD
JP1993-196874-1 |  | Zemax | 0.4 | 0.6 | 3.6 | 100X, IR superachromatic, good field correction, with vignetting, normal WD
JP1997-101462-1 |  | Zemax | 0.4 | 0.6 | 1.8 | 100X, Apochromatic, good field correction, with vignetting, normal WD
JP1999-174338-5 |  | Zemax | 2 | 2.5 | 20 | 100X, UV superachromatic, good field correction, with vignetting, long WD
JP2000-241710-1 |  | Zemax | 0.25 | 0.6 | 2 | 100X, Fluorite, good field correction, with vignetting, long WD
US03659923-1 |  | Zemax | 0.2 | 0.4 | 1.8 | 100X, Achromatic, good field correction, with vignetting, immersion WD
US03659924-1 |  | Zemax | 0.2 | 0.6 | 1.8 | 100X, Achromatic, good field correction, with vignetting, immersion WD
US03700311-1 |  | Zemax | 0.35 | 0.45 | 1.8 | 100X, Apochromatic, good field correction, with vignetting, immersion WD
US03902793-1 |  | Zemax | 0.2 | 0.5 | 1.8 | 100X, Achromatic, good field correction, with vignetting, immersion WD
US04588264-2 |  | Zemax | 0.4 | 0.8 | 2.6 | 100X, Fluorite, good field correction, with vignetting, long WD
US05076676-1 |  | Zemax | 0.2 | 0.7 | 1.6 | 100X, Apochromatic, good field correction, with vignetting, long WD
US05406421-1 |  | Zemax | 0.1 | 0.45 | 1.8 | 100X, IR superachromatic, good field correction, with vignetting, immersion WD
US05659425-1 |  | Zemax | 0.2 | 0.3 | 1.8 | 100X, Apochromatic, coma corrected only monochromatically, immersion WD
US05739957-4 |  | Zemax | 0.7 | 0.7 | 9 | 100X, Apochromatic, good field correction, with vignetting, immersion WD
US06504653-1 |  | Zemax | 0.1 | 0.4 | 1.7 | 100X, Fluorite, good field correction, with vignetting, immersion WD
US07046451-2 |  | Zemax | 1 | 0.4 | 2 | 100X, Apochromatic, good field correction, with vignetting, immersion WD
US07245438-1 |  | Zemax | 0.25 | 0.75 | 1.8 | 100X, Apochromatic, good field correction, with vignetting, normal WD
US07907348-2 |  | Zemax | 0.12 | 0.25 | 2 | 100X, Achromatic, good field correction, with vignetting, immersion WD
US09323036-2 |  | Zemax | 0.15 | 0.35 | 1.8 | 100X, Apochromatic, good field correction, with vignetting, immersion WD
US05636058-1 |  | Zemax | 0.2 | 0.55 | 1.3 | 150X, Apochromatic, good field correction, with vignetting, normal WD
US04009945-1 |  | Zemax | 0.4 | 0.6 | 3.1 | 160X, Fluorite, good field correction, with vignetting, normal WD
US09488818-1 |  | Zemax | 0.2 | 0.4 | 1.2 | 160X, Apochromatic, good field correction, with vignetting, immersion WD
US06016226-1 |  | Zemax | 0.35 | 8 | 1 | 200X, Apochromatic, good field correction, with vignetting, long WD
US05132845-1 |  | Zemax | 0.5 | 0.6 | 0.7 | 250X, Apochromatic, good field correction, with vignetting, long WD
US07245438-2 |  | Zemax | 0.25 | 0.66 | 1.8
US20020034018-1 |  | Zemax | 1 | 1.3 | 4
US20080247050-1 |  | Zemax | 1 | 3.5 | 18
US20170261736-4 |  | Zemax | 1.5 | 0.8 | 18